## Goedgekeurde omvormers Type A
Lijst van omvormers RfG type A waarvan voor Nederland is aangetoond dat wordt voldaan aan de vereisten uit de RfG
(Gebaseerd op Synergrid C10/26 lijst)
Deze lijst is niet per definitie uitputtend en wordt regelmatig geactualiseerd. Komt uw omvormer niet op de gepubliceerde conformiteitslijst voor of twijfelt u of de omvormer voldoet aan Europese wetgeving (netcode RfG), neem dan contact op met de leverancier van de omvormer. Indien de leverancier eveneens bevestigt dat de omvormer niet voorkomt op de conformiteitslijst, kan laatstgenoemde contact opnemen met Netbeheer Nederland; de leverancier stuurt een e-mail naar rfg@netbeheernederland.nl.
Versie 18 maart 2025
Merk | Type
Enphase | IQ7-B1200
Enphase | ENCHARGE-3T-1P-INT
Enphase | ENCHARGE-10T-1P-INT
Enphase | IQBATTERY-5P-3P-INT and IQ System Controller 3 INT (SC100G-M230ROW)
Enphase | IQBATTERY-5P-3P-INT and IQ Combiner 2 EU 3P (X-IQ-EURO-230-3P-4-2) or Q-RELAY-1P- INT or Q-RELAY-3P-INT
KOSTAL | PIKO MP plus 1.5-1
KOSTAL | PIKO MP plus 2.0-1
KOSTAL | PIKO MP plus 2.5-1
KOSTAL | PLENTICORE plus 3.0
KOSTAL | PIKO MP plus 3.0-1
KOSTAL | PIKO MP plus 3.0-2
KOSTAL | PIKO MP plus 3.6-1
KOSTAL | PIKO MP plus 3.6-2
KOSTAL | PLENTICORE plus 4.2
KOSTAL | PIKO MP plus 4.6-2
KOSTAL | PIKO MP plus 5.0-2
KOSTAL | PLENTICORE plus 5.5
KOSTAL | PLENTICORE Bl 5.5/26
KOSTAL | PLENTICORE 7.0
KOSTAL | PLENTICORE plus 8.5
KOSTAL | PLENTICORE plus 10
KOSTAL | PLENTICORE Bl 10/26
KOSTAL | PLENTICORE plus G2 3.0
KOSTAL | PLENTICORE plus G2 5.5
KOSTAL | PLENTICORE plus G2 8.5
KOSTAL | PLENTICORE plus G2 4.2
KOSTAL | PLENTICORE plus G2 7.0
KOSTAL | PLENTICORE BI G2 5.5/26
KOSTAL | PLENTICORE plus G2 10
KOSTAL | PLENTICORE BI G2 10/26
HUAWEI | SUN2000 2KTL-L1
HUAWEI | SUN2000L 2KTL
HUAWEI | SUN2000 3KTL-L1
HUAWEI | SUN2000 L 3KTL
HUAWEI | SUN2000-3,68KTL-L1
HUAWEI | SUN2000L-3,68KTL
HUAWEI | SUN2000-4KTL-L1
HUAWEI | SUN2000L-4KTL
HUAWEI | SUN2000-4,6KTL-L1
HUAWEI | SUN2000 4,6KTL
HUAWEI | SUN2000 5KTL-L1
HUAWEI | SUN2000L 5KTL
SolarEdge | HD Wave SE2000H
SolarEdge | HD Wave SE2200H
SolarEdge | HD Wave SE3000H
SolarEdge | HD Wave SE3500H
SolarEdge | HD Wave SE3680H
SolarEdge | HD Wave SE4000H
SolarEdge | HD Wave SE5000H
SolarEdge | SE5K-RWS
SolarEdge | HD Wave SE6000H
SolarEdge | SE7K-RWS
SolarEdge | SE8K-RWS
SolarEdge | SE10K-RWS
SolarEdge | SE3680H-RWSAC
SolarEdge | SE5000H-RWSAC
SolarEdge | SE7K-RWB48
SolarEdge | SE5K-RWB48
SolarEdge | SE8K-RWB48
SolarEdge | SE10K-RWB48
DELIOS | DLS 230AC
DELIOS | DLS 300
DELIOS | DLS 300C
DELIOS | DLS 300AC
DELIOS | DLS 450
DELIOS | DLS 450H
DELIOS | DLS 600
DELIOS | DLS 450C
DELIOS | DLS 600C
DELIOS | DLS 450AC
DELIOS | DLX 500HV
DELIOS | DLX 600HV
DELIOS | DLX 800HV
DELIOS | DLX 500AC
DELIOS | DLX 1000HV
DELIOS | DLX 600AC
DELIOS | DLX 800AC
DELIOS | DLX 1000AC
DELIOS | DLS 450 EVO
DELIOS | DLS 600 EVO
DELIOS | DLS 300C EVO
DELIOS | DLS 450C EVO
DELIOS | DLS 600C EVO
DELIOS | DLS 250AC EVO
DELIOS | DLS 450AC EVO
Victron Energy | Multiplus-II 48/3000/35-32
Victron Energy | Multiplus-II 48/3000/35-32 GX
Victron Energy | Multiplus-II 24/3000/70-32
Victron Energy | Multiplus-II 24/3000/70-32 GX
Victron Energy | Easysolar-II 48/3000/35-32 MPPT 250/70 GX
Victron Energy | Easysolar-II 24/3000/70-32 MPPT 250/70 GX
Victron Energy | Multiplus-II 48/5000/70-50
Victron Energy | Multiplus-II 48/5000/70-50 GX
Victron Energy | Easysolar-II 48/5000/70-50 MPPT 250/100 GX
Victron Energy | Quattro 48/15000/200-100/100
Victron Energy | Quattro 48/10000/140-100/100
Victron Energy | Quattro 48/8000/110-100/100
Victron Energy | Multiplus-II 48/3000/35-32 (GLV103-01-0001) + SmartSolar MPPT
Victron Energy | Multiplus-II 48/3000/35-32 GX (GLV103-01-0002) + SmartSolar MPPT
Victron Energy | Multiplus-II 48/5000/70-50 (GLV103-01-0003) + SmartSolar MPPT
Victron Energy | Multiplus-II 24/3000/70-32 (GLV103-01-0004) + SmartSolar MPPT
Victron Energy | Multiplus-II 48/3000/35-32 GX (GLV103-01-0002) + BlueSolar MPPT
Victron Energy | Multiplus-II 24/3000/70-32 GX (GLV103-01-0005) + BlueSolar MPPT
Victron Energy | Multiplus-II 24/3000/70-32 GX (GLV103-01-0005) + SmartSolar MPPT
Victron Energy | Multiplus-II 48/3000/35-32 (GLV103-01-0001) + BlueSolar MPPT
Victron Energy | Multiplus-II 24/3000/70-32 (GLV103-01-0004) + BlueSolar MPPT
Victron Energy | Multiplus-II 48/5000/70-50 (GLV103-01-0003) + BlueSolar MPPT
Victron Energy | Multiplus-II 48/5000/70-50 GX (GLV103-02-0001) +BlueSolar MPPT
Victron Energy | Quattro 48/15000/200-100/100 (GLV103-04-0001) + SmartSolar MPPT
Victron Energy | Multiplus-II 48/5000/70-50 GX (GLV103-02-0001) + Smart SolarMPPT
Victron Energy | Quattro 48/8000/110-100/100 (GLV103-04-0003) + SmartSolar MPPT
Victron Energy | Quattro 48/15000/200-100/100 (GLV103-04-0001) + BlueSolar MPPT
Victron Energy | Quattro 48/10000/140-100/100 (GLV103-04-0002) + BlueSolar MPPT
Victron Energy | Quattro 48/8000/110-100/100 (GLV103-04-0003) + BlueSolar MPPT
Victron Energy | Quattro 48/10000/140-100/100 (GLV103-04-0002) + SmartSolar MPPT
Victron Energy | Multiplus-II 48/8000/110-100 230V
Victron Energy | Multiplus-II 48/8000/110-100 230V + DC Solar Charger Smart Solar MPPT
Victron Energy | Multiplus-II 48/10000/140-100 230V + DC Solar Charger Smart Solar MPPT
Victron Energy | Multiplus-II 48/10000/140-100 230V
SMA | Sunny Boy Storage SBS2.5-1VL-10
SMA | Sunny Island SI4.4M-13
SMA | Sunny Boy Storage SBS3.7-10
SMA | Sunny Island SI6.0H-13
SMA | Sunny Boy Storage SBS5.0-10
SMA | Sunny Boy Storage SBS6.0-10
SMA | Sunny Island SI8.0H-13
SMA | STPS60-10
SMA | STP5.0-3SE-40
SMA | STP6.0-3SE-40
SMA | STP8.0-3SE-40
SMA | STP10.0-3SE-40
SMA | Sunny Tripower STPS50-20
SMA | Sunny Tripower STPS30-20
SMA | Sunny Island SI50-20
SMA | Sunny Island SI30-20
SMA | SBSE5.0-50 (Sunny Boy Smart Energy 5.0)
SMA | SBSE4.0-50 (Sunny Boy Smart Energy 4.0)
SMA | SBSE6.0-50 (Sunny Boy Smart Energy 6.0)
SMA | SBSE3.6-50 (Sunny Boy Smart Energy 3.6)
AlphaESS | Storion Smile B3
AlphaESS | Storion Smile 5
AlphaESS | Storion Smile T10
AlphaESS | Storion T30 PWS2-30M-EX
AlphaESS | Storion T50 PWG2-50K-EX
AlphaESS | Storion 100 PWG2-100K-EX
AlphaESS | Storion Smile-T10-HV-INV
AlphaESS | Smile B3-PLUS
AMPERE ENERGY | Sphere S 3.3
AMPERE ENERGY | Sphere S 6.3
AMPERE ENERGY | Square S 3.3 PV
AMPERE ENERGY | Square S 3.3
AMPERE ENERGY | Square S 6.3
AMPERE ENERGY | Square S 6.3 PV
AMPERE ENERGY | Square M 0.3 PV
AMPERE ENERGY | Tower S12.3
AMPERE ENERGY | Tower S 12.3 PV
AMPERE ENERGY | Tower M 6.3
AMPERE ENERGY | Tower M 6.3 PV
AMPERE ENERGY | Tower M 0.3 PV
AMPERE ENERGY | Square PRO 3.3
AMPERE ENERGY | Square PRO 3.3 PV
AMPERE ENERGY | Square PRO 6.3 PV
AMPERE ENERGY | Square PRO 6.3
AMPERE ENERGY | Tower PRO 12.3 PV
AMPERE ENERGY | Tower PRO 12.3
AMPERE ENERGY | Tower PRO M 6.3
AMPERE ENERGY | Tower PRO M 6.3 PV
AMPERE ENERGY | Square S 6.5 PV
AMPERE ENERGY | Square M 0.5 PV
AMPERE ENERGY | Tower S 12.5 PV
AMPERE ENERGY | Tower M 6.5 PV
AMPERE ENERGY | Tower M 0.5 PV
AMPERE ENERGY | Square PRO 6.5 PV
AMPERE ENERGY | Tower Pro 12.5 PV
AMPERE ENERGY | Tower PRO Q 6.5 PV
AMPERE ENERGY | T-PRO 12
AMPERE ENERGY | T-PRO 18
AMPERE ENERGY | T-PRO 24
AMPERE ENERGY | T-PRO 30
AMPERE ENERGY | T-PRO 36
FRONIUS | Symo Hybrid 3.0-3-S
FRONIUS | Primo 4.0-3-S
FRONIUS | Symo Hybrid 5.0-3-S
FRONIUS | Symo Gen24 Plus 6.0
FRONIUS | Symo Gen24 Plus 8.0
FRONIUS | Symo Gen24 plus 10.0
FRONIUS | Primo Gen24 3.0 Plus
FRONIUS | Primo Gen24 3.6 Plus
FRONIUS | Primo Gen24 4.0 Plus
FRONIUS | Primo Gen24 4.6 Plus
FRONIUS | Primo Gen24 5.0 Plus
FRONIUS | Primo Gen24 6.0 Plus
FRONIUS | Symo Gen24 4.0 Plus
FRONIUS | Symo Gen24 3.0 Plus
FRONIUS | Symo Gen24 5.0 Plus
FRONIUS | Symo Gen24 6.0 Plus
FRONIUS | Symo Gen24 8.0 Plus
FRONIUS | Symo Gen24 10.0 Plus
GOODWE | GW3048-EM
GOODWE | GW3600-EH
GOODWE | GW3648D-ES
GOODWE | GW3648-EM
GOODWE | GW5K-ET
GOODWE | GW5048-EM
GOODWE | GW5048D-ES
GOODWE | GW5000-EH
GOODWE | GW6.5K-ET
GOODWE | GW8K-ET
GOODWE | GW10K-ET
GOODWE | GW5000-BH
GOODWE | GW3600-BH
GOODWE | GW5K-BT
GOODWE | GW6K-BT
GOODWE | GW8K-BT
GOODWE | GW10K-BT
GOODWE | GW3600S-BP
GOODWE | GW5000S-BP
GOODWE | GW3000-ES-20
GOODWE | GW3600M-ES-20
GOODWE | GW3600-ES-20
GOODWE | GW5000M-ES-20
GOODWE | GW5000-ES-20
GOODWE | GW6000M-ES-20
GOODWE | GW6000-ES-20
GOODWE | GW3600-SBP-20
GOODWE | GW6000-SBP-20
GOODWE | GW5000-SBP-20
GOODWE | GW15K-ET
GOODWE | GW25K-ET
GOODWE | GW20K-ET
GOODWE | GW29.9K-ET
GOODWE | GW5KN-ET
GOODWE | GW6.5KN-ET
GOODWE | GW8KN-ET
GOODWE | GW10KN-ET
GOODWE | GW6000-ET-20
GOODWE | GW12K-ET-20
GOODWE | GW10K-ET-20
GOODWE | GW8000-ET-20
GOODWE | GW15K-ET-20
GOODWE | GW5000N-EH
GOODWE | GW5000N-EH-BE
GOODWE | GW5000-EH-BE
GOODWE | GW3600N-EH
GOODWE | GW6000N-EH
GOODWE | GW6000-EH
Growatt | SPH 3000
Growatt | SPH 3600
Growatt | SPH 4000
Growatt | SPH 4000TL3 BH
Growatt | SPA 4000TL3 BH
Growatt | SPH 4600
Growatt | SPH 5000
Growatt | SPH 5000TL3 BH
Growatt | SPA 5000TL3 BH
Growatt | SPH 6000TL3 BH
Growatt | SPA 6000TL3 BH
Growatt | SPH 7000TL3 BH
Growatt | SPA 7000TL3 BH
Growatt | SPH 8000TL3 BH
Growatt | SPA 8000TL3 BH
Growatt | SPH 10000TL3 BH
Growatt | SPA 10000TL3 BH
Growatt | MIN 2500TL-XH
Growatt | MIN 3000TL-XH
Growatt | MIN 4200TL-XH
Growatt | MIN 4600TL-XH
Growatt | MIN 5000TL-XH
Growatt | MIN 3600TL-XH
Growatt | MOD 4000TL3-XH
Growatt | MOD 3000TL3-XH
Growatt | MOD 5000TL3-XH
Growatt | MOD 6000TL3-XH
Growatt | MOD 9000TL3-XH
Growatt | MOD 10KTL3-XH
Growatt | MOD 7000TL3-XH
Growatt | MOD 8000TL3-XH
Growatt | SPH 4000TL3 BH-UP
Growatt | SPH 5000TL3 BH-UP
Growatt | SPH 6000TL3 BH-UP
Growatt | SPH 7000TL3 BH-UP
Growatt | SPH 8000TL3 BH-UP
Growatt | SPH 10000TL3 BH-UP
Growatt | SPA 4000TL3 BH-UP
Growatt | SPA 5000TL3 BH-UP
Growatt | SPA 6000TL3 BH-UP
Growatt | SPA 7000TL3 BH-UP
Growatt | SPA 8000TL3 BH-UP
Growatt | SPA 10000TL3 BH-UP
Growatt | 2500TL-XA
Growatt | 3000TL-XA
Growatt | 3600TL-XA
Growatt | 4200TL-XA
Growatt | 4600TL-XA
Growatt | 5000TL-XA
Growatt | SPH 3000TL BL-UP
Growatt | SPH 3600TL BL-UP
Growatt | SPH 4000TL BL-UP
Growatt | SPH 4600TL BL-UP
Growatt | SPH 5000TL BH-UP
Growatt | SPH 6000TL BH-UP
Growatt | MID 11KTL3-XH
Growatt | MID 12KTL3-XH
Growatt | MID 15KTL3-XH
Growatt | MID 17KTL3-XH
Growatt | MID 20KTL3-XH
Growatt | MID 25KTL3-XH
Growatt | MID 30KTL3-XH
Growatt | MID 13KTL3-XH
Growatt | MOD 10KTL3-XH BE
Renac Power | ESC3000-DS
Renac Power | ESC3680-DS
SOFAR SOLAR | HYD 3000-ES
SOFAR SOLAR | ME 3000SP
SOFAR SOLAR | HYD 3600-ES
SOFAR SOLAR | Energy Storage inverter HYD 4000-ES
SOFAR SOLAR | HYD 4600-ES
SOFAR SOLAR | HYD 5KTL-3PH
SOFAR SOLAR | HYD 5000-ES
SOFAR SOLAR | HYD 6KTL-3PH
SOFAR SOLAR | HYD 6000-ES
SOFAR SOLAR | HYD 10KTL-3PH
SOFAR SOLAR | HYD 8KTL-3PH
SOFAR SOLAR | HYD 15KTL-3PH
SOFAR SOLAR | HYD 20KTL-3PH
SOFAR SOLAR | HYD 10KTL-3PH-A
SolaX Power | X1-Hybrid-3.0-N-E
SolaX Power | X1-Hybrid-3.0-D-E
SolaX Power | X1-Hybrid-3.0-N-I
SolaX Power | X1-Hybrid-3.0-D-I
SolaX Power | X1-Hybrid-3.0-N-C
SolaX Power | X1-Hybrid-3.0-D-C
SolaX Power | X1-Hybrid-3.7-D-E
SolaX Power | X1-Hybrid-3.7-N-I
SolaX Power | X1-Hybrid-3.7-N-E
SolaX Power | X1-Hybrid-3.7-D-I
SolaX Power | X1-Hybrid-3.7-N-C
SolaX Power | X1-Hybrid-3.7-D-C
SolaX Power | X1-Retro Fit-3.7E
SolaX Power | X1-Retro Fit-3.7I
SolaX Power | X1-Retro Fit-3.7C
SolaX Power | X1-Hybrid-4.6-N-E
SolaX Power | X1-Hybrid-4.6-D-E
SolaX Power | X1-Hybrid-4.6-N-I
SolaX Power | X1-Hybrid-4.6-D-I
SolaX Power | X1-Hybrid-4.6-N-C
SolaX Power | X1-Hybrid-4.6-D-C
SolaX Power | X1-Retro Fit-4.6E
SolaX Power | X1-Retro Fit-4.6I
SolaX Power | X1-Retro Fit-4.6C
SolaX Power | X1-Hybrid-5.0-N-E
SolaX Power | X1-Hybrid-5.0-D-E
SolaX Power | X1-Hybrid-5.0-N-I
SolaX Power | X1-Hybrid-5.0-D-I
SolaX Power | X1-Hybrid-5.0-N-C
SolaX Power | X1-Hybrid-5.0-D-C
SolaX Power | X1-Retro Fit-5.0E
SolaX Power | X1-Retro Fit-5.0I
SolaX Power | X1-Retro Fit-5.0C
SolaX Power | X3-Hybrid-5.0-N-E
SolaX Power | X3-Hybrid-5.0-D-E
SolaX Power | X3-Hybrid-5.0-N-C
SolaX Power | X3-Hybrid-5.0-D-C
SolaX Power | X3-Hybrid-6.0-N-E
SolaX Power | X3-Hybrid-6.0-D-E
SolaX Power | X3-Hybrid-6.0-N-C
SolaX Power | X3-Hybrid-6.0-D-C
SolaX Power | X3-Hybrid-8.0-D-E
SolaX Power | X3-Hybrid-8.0-N-E
SolaX Power | X3-Hybrid-8.0-N-C
SolaX Power | X3-Hybrid-8.0-D-C
SolaX Power | X3-Retro Fit-8.0E
SolaX Power | X3-Retro Fit-8.0C
SolaX Power | X3-Hybrid-10.0-N-E
SolaX Power | X3-Hybrid-10.0-D-E
SolaX Power | X3-Hybrid-10.0-N-C
SolaX Power | X3-Hybrid-10.0-D-C
SolaX Power | X3-Retro Fit-10.0E
SolaX Power | X3-Retro Fit-10.0C
SolaX Power | X1-Hybrid-3.0-D
SolaX Power | X1-Hybrid-3.7-D
SolaX Power | X1-Hybrid-6.0-D
SolaX Power | X1-Hybrid-5.0-D
SolaX Power | X1-Hybrid-7.5-D
SolaX Power | X1-Hybrid-3.0-M
SolaX Power | X1-Hybrid-5.0-M
SolaX Power | X1-Hybrid-3.7-M
SolaX Power | X1-Hybrid-6.0-M
SolaX Power | X1-Hybrid-7.5-M
SolaX Power | X3-Hybrid-5.0-D
SolaX Power | X3-Hybrid-5.0-M
SolaX Power | X3-Hybrid-6.0-D
SolaX Power | X3-Hybrid-6.0-M
SolaX Power | X3-Hybrid-8.0-D
SolaX Power | X3-Hybrid-8.0-M
SolaX Power | X3-Hybrid-10.0-D
SolaX Power | X3-Hybrid-10.0-M
SolaX Power | X3-Hybrid-12.0-D
SolaX Power | X3-Hybrid-12.0-M
SolaX Power | X3-Hybrid-15.0-D
SolaX Power | X3-Hybrid-15.0-M
SolaX Power | X1-Fit-3.7-W
SolaX Power | X1-Fit-5.0-W
SolaX Power | X1-Fit-6.0-W
SolaX Power | X1-Fit-7.5-W
SolaX Power | X1-Fit-3.0-M
SolaX Power | X1-Fit-3.7-M
SolaX Power | X1-Fit_5.0-M
SolaX Power | X1-Fit-3.0-W
SolaX Power | X1-Fit-7.5-M
SolaX Power | X1-Fit-6.0-M
SolaX Power | X3-Fit-6.0-W
SolaX Power | X3-Fit-8.0-W
SolaX Power | X3-Fit-6.0-M
SolaX Power | X3-Fit-10.0-W
SolaX Power | X3-Fit-8.0-M
SolaX Power | X3-Fit-10.0-M
SolaX Power | X3-Fit-15.0-W
SolaX Power | X3-Fit-15.0-M
SolaX Power | X1-Hybrid-4.6-M
SolaX Power | X1-Hybrid-5.0K-D
SolaX Power | X1-Hybrid-4.6-D
SolaX Power | X1-Fit-4.6-W
SolaX Power | X1-Fit-4.6-M
SolaX Power | X1-Fit-5.0K-W
SolaX Power | X3-Hybrid-10.0K-D
SolaX Power | X3-Hybrid-12.0K-D
SolaX Power | X3-Fit-10.0K-W
SolaX Power | X3-ULT-15K
SolaX Power | X3-ULT-19.9K
SolaX Power | X3-ULT-20K
SolaX Power | X3-ULT-30K
SolaX Power | X3-ULT-25K
Solis | RAI-3K-48ES-5G
Solis | RHI-3K-48ES-5G
Solis | RHI-3K-48ES
Solis | RHI-3.6K-48ES-5G
Solis | RHI-3.6K-48ES
Solis | RHI-4.6K-48ES-5G
Solis | RHI-4.6K-48ES
Solis | RHI-5K-48ES-5G
Solis | RHI-5K-48ES
Solis | RHI-3P5K-HVES-5G
Solis | RHI-3P6K-HVES-5G
Solis | RHI-3P10K-HVES-5G
Solis | RHI-3P8K-HVES-5G
Solis | S5-EH1P3K-L
Solis | S5-EH1P3.6K-L
Solis | S5-EH1P4.6K-L
Solis | S5-EH1P5K-L
Solis | S5-EH1P3K-L-BE
Solis | S5-EH1P3.6K-L-BE
Solis | S5-EH1P4.6K-L-BE
Solis | S5-EH1P5K-L-BE
TECLOMAN | Firefly-3k
TECLOMAN | Firefly-3.6k
TECLOMAN | Firefly-4k
TECLOMAN | Firefly-4.6k
TECLOMAN | Firefly-5k
TECLOMAN | HPS100
TECLOMAN | HPS120
TECLOMAN | HPS150
TECLOMAN | HPS30
TECLOMAN | HPS50
TECLOMAN | TPCS-630
Sonnen | sB10/5,5
Sonnen | sB10/11
Sonnen | sB10/16,5
Sonnen | sB10/22
Sonnen | sB10/27,5
FIMER (ABB) | REACT2-UNO-3.6-TL
FIMER (ABB) | REACT2-UNO-5.0-TL
batterX | batterX h3600
batterX | batterX h5000
batterX | batterX h10
batterX | batterX 3680D
batterX | batterX 5000D
Kstar (Vision) | KSE-3.6K-048S
Kstar (Vision) | KSE-5K-048S
RCT Power GmbH | Power Storage DC 4.0
RCT Power GmbH | Power Inverter 4.0
RCT Power GmbH | Power Storage AC 4.0
RCT Power GmbH | Power Storage DC 5.0
RCT Power GmbH | Power Inverter 5.0
RCT Power GmbH | Power Storage AC 6.0
RCT Power GmbH | Power Storage DC 6.0
RCT Power GmbH | Power Inverter 6.0
RCT Power GmbH | Power Storage DC 8.0
RCT Power GmbH | Power Storage DC 10.0
RCT Power GmbH | Power Storage AC 4.0_Bx
RCT Power GmbH | Power Storage AC 6.0_Bx
RCT Power GmbH | Power Storage DC 10.0_Bx
RCT Power GmbH | Power Storage DC 8.0_Bx
RCT Power GmbH | Power Storage DC 6.0_Bx
RCT Power GmbH | Power Storage DC 4.0_Bx
LG ESS | D008KE1N211
LG ESS | D010KE1N211
Voltronic/ Vision | InfiniSolar10K
Danfoss | NXA_0168_5
Danfoss | NXA_0125_6
Danfoss | NXI_0205_5
Danfoss | NXA_0205_5
Danfoss | NXA_0144_6
Danfoss | NXA_0261_5
Danfoss | NXA_0170_6
Danfoss | NXI_0208_6
Danfoss | NXA_0300_5
Danfoss | NXA_0385_5
Danfoss | NXA_0261_6
Danfoss | NXA_0325_6
Danfoss | NXA_0460_5
Danfoss | NXA04605A0T02SGA1A2000000
Danfoss | NXI_0520_5
Danfoss | NXI_0385_6
Danfoss | NXI_0590_5
Danfoss | NXI_0460_6
Danfoss | NXI_0650_5
Danfoss | 2XNXA_0261_6
Danfoss | NXI_0730_5
Danfoss | NXI_0502_6
Danfoss | NXI_0820_5
Danfoss | 2XNXA_0460_5
Danfoss | 2XNXA_0325_6
Danfoss | NXI_0590_6
Danfoss | NXI_0920_5
Danfoss | NXI_0650_6
Danfoss | NXI_1030_5
Danfoss | 2XNXI_0520_5
Danfoss | 2XNXI_0385_6
Danfoss | NXI_0750_6
Danfoss | NXA_1150_5
Danfoss | NXA_1300_5
Danfoss | NXA_0920_6
Danfoss | NXI_1450_5
Danfoss | NXA_1030_6
Delta Electronics | PCS100 DES10JB100K01
Delta Electronics | PCS100HV
WSTECH | APS650-ES-1-360-5
WSTECH | APS725-ES-1-400-5
WSTECH | APS800-ES-1-440-5
WSTECH | APS870-ES-1-480-5
WSTECH | APS945-ES-1-520-5
SAJ | AS1-3KS-5.1
SAJ | AS1-3KS-10.2
SAJ | AS1-3KS-15.3
SAJ | AS1-3KS-20.4
SAJ | H1-3K-S2
SAJ | H1-3.6K-S2
SAJ | H1-4K-S2
SAJ | H1-4.6K-LS2
SAJ | H1-4.6K-S2
SAJ | H1-5K-LS2
SAJ | H1-5K-S2
SAJ | H2-5K-T2
SAJ | H2-6K-T2
SAJ | H2-8K-T2
SAJ | H2-10K-T2
SAJ | AS2-5K-T
SAJ | AS2-6K-T
SAJ | AS2-8K-T
SAJ | AS2-10K-T-B
SAJ | HS2-5K-T2
SAJ | HS2-6K-T2
SAJ | HS2-8K-T2
SAJ | HS2-10K-T2-B
SAJ | HS2-10K-T2
SAJ | AS2-10K-T
SAJ | HS2-3K-S2
SAJ | HS2-4K-S2
SAJ | HS2-3.6K-S2
SAJ | HS2-4.6K-S2
SAJ | HS2-5K-S2-B
SAJ | AS2-3K-S
SAJ | HS2-5K-S2
SAJ | AS2-3.6K-S
SAJ | AS2-4K-S
SAJ | AS2-4.6K-S
SAJ | AS2-5K-S-B
SAJ | AS2-5K-S
SAJ | H1-3K-S2-15
SAJ | H1-3.6K-S2-15
SAJ | H1-4.6K-S2-15
SAJ | H1-4K-S2-15
SAJ | H1-5K-S2-15
SAJ | H2-10K-T3
SAJ | H2-15K-T3
SAJ | H2-15K-T2
SAJ | H2-12K-T3
SAJ | H2-20K-T2
SAJ | H2-20K-T3
SAJ | H2-25K-T3-BE
SAJ | H2-25K-T3
SAJ | H2-30K-T3-DE
SAJ | H2-30K-T3
SAJ | CHS2-29.9K-T4-X
SAJ | CHS2-30K-T4-X
SAJ | CHS2-63K-T6-X
SAJ | CHS2-50K-T6-X
SAJ | CHS2-40K-T5-X
SAJ | H2-10K-T2-B
SAJ | H2-3.6K-S2
SAJ | H2-4K-S2
SAJ | H2-5K-S2
SAJ | H2-6K-S2
SAJ | H2-3K-S2
Sinexcel | PWS2-30M-EX
Sinexcel | PWS1-250K-H-EX
Sinexcel | PWS1-500KTL-EX-2M1
Sinexcel | PWS1-500KTL-EX-1M1
Sinexcel | PWS1-500KTL-EX-3M1
Sinexcel | PWS1-500KTL-EX-4M1
Sinexcel | PWS1-500KTL-EX-5M1
Sinexcel | PWS1-500KTL-EX-6M1
Sinexcel | PWS1-500KTL-EX-7M1
Sinexcel | PWS1-500KTL-EX-8M1
Sinexcel | PWS1-500KTL-EX-1M8
Sinexcel | PWS1-500KTL-EX-2M8
Sinexcel | PWS1-500KTL-EX-4M8
Sinexcel | PWS1-500KTL-EX-3M8
Sinexcel | PWS1-500KTL-EX-5M8
Sinexcel | PWS1-500KTL-EX-6M8
Sinexcel | PWS1-500KTL-EX-7M8
Sinexcel | PWS1-500KTL-EX-2M4
Sinexcel | PWS1-500KTL-EX-4M4
Sinexcel | PWS1-500KTL-EX-8M8
Sinexcel | PWS1-500KTL-EX-6M4
Sinexcel | PWS1-500KTL-EX-8M4
Sinexcel | PWS2-30P-EX
Sinexcel | PWS2-29P-EX
Sinexcel | PBS1-430KTL-H-EX-2M2
Sinexcel | PBS1-430KTL-H-EX-1M1
Sinexcel | PBS1-430KTL-H-EX-1M2
Sinexcel | PBS1-430KTL-H-EX-2M1
Sinexcel | PWS1-1725KTL-H-EX-1M1
Sinexcel | PWS1-1725KTL-H-EX-2M1
Sinexcel | PWS1-1725KTL-H-EX-3M1
Sinexcel | PWS1-1725KTL-H-EX-4M1
Sinexcel | PWS1-1725KTL-H-EX-5M1
Sinexcel | PWS1-1725KTL-H-EX-7M1
Sinexcel | PWS1-1725KTL-H-EX-6M1
Sinexcel | PWS1-1725KTL-H-EX-8M1
Sinexcel | PWS1-1725KTL-H-EX-2M8
Sinexcel | PWS1-1725KTL-H-EX-3M8
Sinexcel | PWS1-1725KTL-H-EX-5M8
Sinexcel | PWS1-1725KTL-H-EX-7M8
Sinexcel | PWS1-1725KTL-H-EX-4M8
Sinexcel | PWS1-1725KTL-H-EX-6M8
Sinexcel | PWS1-1725KTL-H-EX-8M8
Sinexcel | PWS1-1725KTL-H-EX-2M4
Sinexcel | PWS1-1725KTL-H-EX-4M4
Sinexcel | PWS1-1725KTL-H-EX-6M4
Sinexcel | PWS1-1725KTL-H-EX-2M2
Sinexcel | PWS1-1725KTL-H-EX-8M4
Sinexcel | PWS1-1725KTL-H-EX-6M2
Sinexcel | PWS1-1725KTL-H-EX-4M2
Sinexcel | PWS1-1725KTL-H-EX-8M2
Sinexcel | PWS1-1725KTL-H-EX-1M8
Venema E-Mobility | V2G Single 10kW CHAdeMO VECS10V2GDC
Venema E-Mobility | V2G Single 10kW CCS VECS10V2GDC
Venema E-Mobility | V2G Double 10kW CHAdeMO/CCS VECS10V2GDC
Venema E-Mobility | V2G-Solar Double 10kW CHAdeMO/CCS VECS10V2GSODC-S
Venema E-Mobility | CASIO V2G-Solar+Bat.10kW CHAdeMO/CCS VECS10V2GCASODC
TSUN | TSOL-ACU3.OK
TSUN | TSOL-HSU3.0K
TSUN | TSOL-HSU3.6K
TSUN | TSOL-HSU4.0K
TSUN | TSOL-HSU4.6K
TSUN | TSOL-HSU5.0K
TSUN | TSOL-HSU6.0K
TSUN | TSOL-ACU3.0K
TSUN | TSOL-ACU3.6K
TSUN | TSOL-ACU4.0K
TSUN | TSOL-ACU4.6K
TSUN | TSOL-ACU5.0K
TSUN | TSOL-ACU6.0K
LuxpowerTek | LXP-3,6K Hybrid
LuxpowerTek | LXP-3K Hybrid
LuxpowerTek | LXP-4K6 Hybrid
LuxpowerTek | LXP-4K Hybrid
LuxpowerTek | LXP-5K Hybrid
AFORE (Suntrans New Energy BV) | Hybrid inverter AF3K-SL
AFORE (Suntrans New Energy BV) | Hybrid inverter AF3.6K-SL
AFORE (Suntrans New Energy BV) | Hybrid inverter AF4K-SL
AFORE (Suntrans New Energy BV) | Hybrid inverter AF4.6K-SL
AFORE (Suntrans New Energy BV) | Hybrid inverter AF5K-SL
AFORE (Suntrans New Energy BV) | Hybrid inverter AF5.5K-SL
AFORE (Suntrans New Energy BV) | Hybrid inverter AF6K-SL
INTILION | SCALEBLOC energy
INTILION | SCALEBLOC power
INTILION | SCALEBLOC power boost
VIESSMANN | VITOCHARGE VX3 Typ 4.6A
Kstar | BluE-S 3680D
Kstar | BluE-S 5000D
Kstar | 8KT
Kstar | 10KT
Kstar | 12KT
Kstar | 50DP
Yuso | Victron Multiplus-II 48/5000/70-50 GX
Yuso | Victron Multiplus-II 48/5000/70-50
Indrivetec | FC250
Indrivetec | FC320
Indrivetec | FC500
Indrivetec | FC750
Indrivetec | FC950
Sermatec | SMT-5K-TL-LV
FoxESS | H1-3.0-E/AIO-H1-3.0
FoxESS | H1-3.7-E/AIO-H1-3.7
FoxESS | H1-4.6-E/AIO-H1-4.6
FoxESS | H1-5.0-E/AIO-H1-5.0
FoxESS | AC1-3.0-E/AIO-AC1-3.0
FoxESS | AC1-3.7-E/AIO-AC1-3.7
FoxESS | AC1-4.6-E/AIO-AC1-4.6
FoxESS | AC1-5.0-E/AIO-AC1-5.0
FoxESS | H1-3.0-E-G2
FoxESS | H1-3.7-E-G2
FoxESS | H1-4.6-E-G2
FoxESS | H1-5.0-E1-G2
FoxESS | H1-4.6-E1-G2
FoxESS | H1-5.0-E-G2
FoxESS | H1-6.0-E-G2
FoxESS | AC1-3.7-E-G2
FoxESS | AC1-3.0-E-G2
FoxESS | AC1-4.6-E1-G2
FoxESS | AC1-4.6-E-G2
FoxESS | AC1-5.0-E1-G2
FoxESS | AC1-5.0-E-G2
FoxESS | AC1-6.0-E-G2
Sungrow | SH6.0RT
Sungrow | SH5.0RT
Sungrow | SH8.0RT
Sungrow | SH10RT
Sungrow | SH5T
Sungrow | SH8T
Sungrow | SH6T
Sungrow | SH10T
Sungrow | SH12T
Sungrow | SH15T
Sungrow | SH20T
Sungrow | SH25T
CE+T Energrid | Hercules 60
CE+T Energrid | Hercules 40
CE+T Energrid | Hercules 80
CE+T Energrid | Hercules 100
CE+T Energrid | Hercules 120
CE+T Energrid | Hercules 140
CE+T Energrid | Hercules 160
CE+T Energrid | Hercules 180
CE+T Energrid | Hercules 200
CE+T Energrid | Hercules 220
CE+T Energrid | Hercules 240
CE+T Energrid | Stabiliti 30C-A
CE+T Energrid | Stabiliti 30C3-A
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 3.0kW 1P
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 5.0kW 1P
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 6.0kW 1P
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 3.7kW 1P
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 7.5kW 1P
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 3.0kW 1P-D
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 3.7kW 1P-D
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 5.0kW 1P-D
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 6.0kW 1P-D
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 7.5kW 1P-D
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 5.0kW 3P
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 5.0kW 3P-D
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 6.0kW 3P
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 6.0kW 3P-D
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 8.0kW 3P-D
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 10.0kW 3P
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 10.0kW 3P-D
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 12.0kW 3P
Hanwha Q CELLS GmbH | Q.VOLT HYBG3 12.0kW 3P-D
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 15.0kW 3P
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 15.0kW 3P-D
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 8.0kW 3P
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 5.0kW 1P-BE
Hanwha Q CELLS GmbH | Q.VOLT HYB-G3 10.0kW 3P-BE
SOFARSOLAR | HYD 3000-EP
SOFARSOLAR | HYD 3680-EP
SOFARSOLAR | HYD 4000-EP
SOFARSOLAR | HYD 4600-EP
SOFARSOLAR | HYD 5000-EP
SOFARSOLAR | HYD 6000-EP
SOFARSOLAR | HYD 5500-EP
SOFARSOLAR | ME-5KTL-3PH
SOFARSOLAR | ME-6KTL-3PH
SOFARSOLAR | ME-8KTL-3PH
SOFARSOLAR | ME-10KTL-3PH
SOFARSOLAR | ME-15KTL-3PH
SOFARSOLAR | ME-20KTL-3PH
SOFARSOLAR | SOFAR PowerAll ESI 3K-S1
SOFARSOLAR | SOFAR PowerAll ESI 3.68K-S1
SOFARSOLAR | SOFAR PowerAll ESI 4K-S1
SOFARSOLAR | SOFAR PowerAll ESI 4.6K-S1
SOFARSOLAR | SOFAR PowerAll ESI 5K-S1-A
SOFARSOLAR | SOFAR PowerAll ESI 5K-S1
SOFARSOLAR | SOFAR PowerAll ESI 6K-S1
ILumen / SMA | 2.5 / SB1.5-1VL-40
ILumen / SMA | 5.0 / SB1.5-1VL-40
ILumen / SMA | 2.5 / SB2.0-1VL-40
ILumen / SMA | 5.0 / SB2.0-1VL-40
ILumen / SMA | 2.5 / SB2.5-1VL-40
ILumen / SMA | 5.0 / SB2.5-1VL-40
ILumen / SMA | 2.5 / SB3.0-1AV-41
ILumen / SMA | 5.0 / SB3.0-1AV-41
ILumen / SMA | 2.5 / SB3.6-1AV-41
ILumen / SMA | 5.0 / SB3.6-1AV-41
ILumen / SMA | 2.5 / SB4.0-1AV-41
ILumen / SMA | 5.0 / SB4.0-1AV-41
ILumen / SMA | 2.5 / SB5.0-1AV-41
ILumen / SMA | 5.0 / SB5.0-1AV-41
ILumen / SMA | 2.5 / SB6.0-1AV-41
ILumen / SMA | 5.0 / SB6.0-1AV-41
ILumen / SMA | 2.5 / STP3.0-3AV-40
ILumen / SMA | 5.0 / STP3.0-3AV-40
ILumen / SMA | 2.5 / STP4.0-3AV-40
ILumen / SMA | 2.5 / STP5.0-3AV-40
ILumen / SMA | 5.0 / STP4.0-3AV-40
ILumen / SMA | 5.0 / STP5.0-3AV-40
ILumen / SMA | 2.5 / STP6.0-3AV-40
ILumen / SMA | 5.0 / STP6.0-3AV-40
ILumen / SMA | 2.5 / STP8.0-3AV-40
ILumen / SMA | 5.0 / STP8.0-3AV-40
ILumen / SMA | 2.5 / STP10.0-3AV-40
ILumen / SMA | 5.0 / STP10.0-3AV-40
IMEON ENERGY | IMEON 9.12
IMEON ENERGY | IMEON 3.6
IMEON ENERGY | IMEON 3.6 Parallel
VARTA | pulse neo 3
VARTA | pulse neo 6
Solarwatt / Fronius | Primo 3.0-1
Solarwatt / Fronius | Primo 3.5-1
Solarwatt / Fronius | Primo 3.6-1
Solarwatt / Fronius | Primo 4.0-1
Solarwatt / Fronius | Primo 4.6-1
Solarwatt / Fronius | Primo 5.0-1
Solarwatt / Fronius | Primo 6.0-1
Solarwatt / Fronius | Primo 8.2-1
Solarwatt / Fronius | Symo 3.0-3-S
Solarwatt / Fronius | Symo 3.7-3-S
Solarwatt / Fronius | Symo 4.5-3-S
Solarwatt / Fronius | Symo 3.7-3-M
Solarwatt / Fronius | Symo 3.0-3-M
Solarwatt / Fronius | Symo 4.5-3-M
Solarwatt / Fronius | Symo 5.0-3-M
Solarwatt / Fronius | Symo 6.0-3-M
Solarwatt / Fronius | Symo 7.0-3-M
Solarwatt / Fronius | Symo 8.2-3-M
Solarwatt / Fronius | Symo Hybrid 3.0-3-S
Solarwatt / Fronius | Symo Hybrid 4.0-3-S
Solarwatt / Fronius | Symo Hybrid 5.0-3-S
Solarwatt / Fronius | Symo GEN24 6.0 Plus
Solarwatt / Fronius | Symo GEN24 8.0 Plus
Solarwatt / Fronius | Symo GEN24 10.0 Plus
Solarwatt / Fronius | Symo GEN24 3.6 Plus
Solarwatt / Fronius | Symo GEN24 3.0 Plus
Solarwatt / Fronius | Symo GEN24 4.0 Plus
Solarwatt / Fronius | Solarwatt / Fronius Symo GEN24 6.0 Plus
Solarwatt / Fronius | Symo GEN24 5.0 Plus
Solarwatt / Fronius | Symo GEN24 4.6 Plus
Solarwatt / SMA | SB1.5-1VL-40
Solarwatt / SMA | SB2.0-1VL-40
Solarwatt / SMA | SB2.5-1VL-40
Solarwatt / SMA | SB3.0-1VL-41
Solarwatt / SMA | SB3.6-1VL-41
Solarwatt / SMA | SB4.0-1VL-41
Solarwatt / SMA | SB5.0-1VL-41
Solarwatt / SMA | SB6.0-1VL-41
Solarwatt / SMA | STP3.0-3AV-40
Solarwatt / SMA | STP4.0-3AV-40
Solarwatt / SMA | STP5.0-3AV-40
Solarwatt / SMA | STP8.0-3AV-40
Solarwatt / SMA | STP10.0-3AV-40
Solarwatt / SMA | STP6.0-3AV-40
Solarwatt / Kostal | PIKO IQ 3.0
Solarwatt / Kostal | PIKO IQ 5.5
Solarwatt / Kostal | PIKO IQ 7.0
Solarwatt / Kostal | PIKO IQ 8.5
Solarwatt / Kostal | PIKO IQ 10
Solarwatt / Kostal | PLENTICORE plus 3.0
Solarwatt / Kostal | PLENTICORE plus 4.2
Solarwatt / Kostal | PIKO IQ 4.2
Solarwatt / Kostal | PLENTICORE plus 5.5
Solarwatt / Kostal | PLENTICORE plus 7.0
Solarwatt / Kostal | PLENTICORE plus 8.5
Solarwatt / Kostal | PLENTICORE plus 10
Solarwatt / Kostal | PIKO MP plus 1.5-1
Solarwatt / Kostal | PIKO MP plus 2.0-1
Solarwatt / Kostal | PIKO MP plus 2.5-1
Solarwatt / Kostal | PIKO MP plus 3.0-1
Solarwatt / Kostal | PIKO MP plus 3.0-2
Solarwatt / Kostal | PIKO MP plus 3.6-1
Solarwatt / Kostal | PIKO MP plus 3.6-2
Solarwatt / Kostal | PIKO MP plus 4.6-2
Solarwatt / Kostal | PIKO MP plus 5.0-2
Solarwatt / Steka a KATEK Brand | StecaGrid 1511
Solarwatt / Steka a KATEK Brand | StecaGrid 2011
Solarwatt / Steka a KATEK Brand | StecaGrid 2511
Solarwatt / Steka a KATEK Brand | StecaGrid 3011
Solarwatt / Steka a KATEK Brand | StecaGrid 3611
FOXESS | AIO-H3-5.0
FOXESS | AIO-H3-6.0
FOXESS | AIO-H3-8.0
FOXESS | AIO-AC3-5.0
FOXESS | AIO-H3-10.0
FOXESS | H1-4.6-E/AIO-H1-4.6E
FOXESS | H1-5.0-E/AIO-H1-5.0E
FOXESS | AC1-4.6-E1/AIO-AC1-4.6E
FOXESS | AC1-5.0-E1/AIO-AC1-5.0E
FOXESS | H3-5.0-E
FOXESS | H3-10.0-E
FOXESS | AC3-6.0-E
FOXESS | AC3-8.0-E
FOXESS | AC3-10.0-E
FOXESS | AC3-5.0-E
FOXESS | AC3-12.0-E
FOXESS | H3-12.0-E
FOXESS | H3-8.0-E
FOXESS | H3-6.0-E
FOXESS | H3-10.0-E1
FOXESS | AC3-10.0-E1
FOXESS | AIO-H3-10.0E
SOCOMEC | SUN-ES33KTR30IS
SOCOMEC | SUN-ES66KTR30IS
SOCOMEC | SUN-ES100TR30IS + SUN-MO-TR101RP (Isolation transformer)
SOCOMEC | SUN-ES132ET30IS
SOCOMEC | SUN-ES200ET30IS
SOCOMEC | SUN-HES-L-400 (cabinet) + 1x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HES-L-400 (cabinet) + 2x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HES-L-400 (cabinet) + 3x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HES-L-400 (cabinet) + 4x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HES-L-400 (cabinet) + 5x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HES-L-400 (cabinet) + 6x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HES-L-380E (cabinet) + 3x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HES-L-380E (cabinet) + 1x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HES-L-380E (cabinet) + 2x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HES-L-380E (cabinet) + 4x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HES-L-380E (cabinet) + 6x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HES-L-380E (cabinet) + 5x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HESL-M-400 (cabinet) + 1x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HESL-M-400 (cabinet) + 2x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HESL-M-400 (cabinet) + 3x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HESL-M-400 (cabinet) + 4x SUN-HES-MOD50 (power module)
SOCOMEC | SUN-HESL-M-400 (cabinet) + 5x SUN-HES-MOD50 (power module)
SUNGROW | SH3.6RS
SUNGROW | SH3.0RS
SUNGROW | SH4.0RS
SUNGROW | SH6.0RS
SUNGROW | SH5.0RS
SUNGROW | SH5.0RT-20
SUNGROW | SH6.0RT-20
SUNGROW | SH8.0RT-20
SUNGROW | SH10RT-20
ATESS | HPS100
ATESS | HPS120
ATESS | HPS150
ATESS | HPS30
ATESS | HPS50
AFORE | AF1K-SL-1
AFORE | AF1.5K-SL-1
AFORE | AF2K-SL-1
AFORE | AF2.5K-SL-1
AFORE | AF3K-SL-1
AFORE | AF3.6K-SL-1
AFORE | AF1K-SL-0
AFORE | AF1.5K-SL-0
AFORE | AF2K-SL-0
AFORE | AF2.5K-SL-0
AFORE | AF3K-SL-0
AFORE | AF3.6K-SL-0
AFORE | AF4K-SL-0
AFORE | AF5K-SL-0
AFORE | AF4.6K-SL-0
AFORE | AF5.5K-SL-0
AFORE | AF6K-SL-0
AFORE | AF3K-TH
AFORE | AF4K-TH
AFORE | AF5K-TH
AFORE | AF6K-TH
AFORE | AF8K-TH
AFORE | AF10K-TH
AFORE | AF12K-TH
AFORE | AF15K-TH
AFORE | AF17K-TH
AFORE | AF20K-TH
AFORE | AF30K-TH
AFORE | AF25K-TH
Wallbox Chargers | QSX1-0-J-2-4-002
Wallbox Chargers | QSB1-0-J-2-4-002
Wallbox Chargers | QSX1-0-J-3-4-002
Wallbox Chargers | QSB1-0-J-3-4-002
Wallbox Chargers | QSX1-0-J-1-4-002
Wallbox Chargers | QSB1-0-J-1-4-002
Ferroamp | EnergyHub wall 7 kW
Ferroamp | EnergyHub wall 14 kW
Ferroamp | EnergyHub XL 21 kW
Ferroamp | EnergyHub XL 28 kW
AEG | AS-BSL1-4000
AEG | AS-BSL1-12000
AEG | AS-BSL1-8000
AEG | AS-ICH02-5000-2/HV
AEG | AS-ICH02-8000-2/HV
AEG | AS-ICH02-10000-2/HV
AEG | AS-ICH02-6500-2/HV
ZCS AZZURRO | 3000SP
ZCS AZZURRO | 1PH HYD3000 ZSS
ZCS AZZURRO | 1PH HYD3600 ZSS
ZCS AZZURRO | 1PH HYD4000 ZSS
ZCS AZZURRO | 1PH HYD4600 ZSS
ZCS AZZURRO | 1PH HYD5000 ZSS
ZCS AZZURRO | 1PH HYD6000 ZSS
ZCS AZZURRO | 3PH HYD5000 ZSS
ZCS AZZURRO | 3PH HYD6000 ZSS
ZCS AZZURRO | 3PH HYD8000 ZSS
ZCS AZZURRO | 3PH HYD10000 ZSS
ZCS AZZURRO | 3PH HYD15000 ZSS
ZCS AZZURRO | 3PH HYD20000 ZSS
Hypontech | HHS-3000
Hypontech | HHS-3680
Hypontech | HHS-5000
Hypontech | HHS-6000
Hypontech | HBS-3000
Hypontech | HBS-3680
Hypontech | HBS-5000
Hypontech | HBS-6000
Hypontech | HHS-5000-BE
Hypontech | HBS-5000-BE
Hypontech | HHT-5000
Hypontech | HHT-6000
Hypontech | HHT-8000
Hypontech | HHT-10000-BE
Hypontech | HHT-12000
sonnen | sB10p / 11 (3000364)
sonnen | sB10p / 22 (3000364)
sonnen | sB10p / 33 (3000364)
sonnen | sB10p / 44 (3000364)
sonnen | sB10p / 55 (3000364)
Studer | nx3 16000-48 st
Studer | nx3 16000-48 t
Sunways | STH-4KTL-HT
Sunways | STH-5KTL-HT
Sunways | STH-6KTL-HT
Sunways | STH-8KTL-HT
Sunways | STH-10KTL-HT
Sunways | STH-12KTL-HT
Sunways | STH-3KTL-HSS
Sunways | STH-3KTL-HS
Sunways | STH-3.6KTL-HSS
Sunways | STH-4.2KTL-HS
Sunways | STH-3.6KTL-HS
Sunways | STH-5KTL-HS
Sunways | STH-4.6KTL-HS
Deye | SUN-3K-SG04LP1-EU
Deye | SUN-3K-SG04LP1-24-EU
Deye | SUN-5K-SG04LP1-EU
Deye | SUN-6K-SG04LP1-EU
Deye | SUN-3,6K-SG04LP1-EU
Deye | SUN-3.6K-SG03LP1-EU
Deye | SUN-5K-SG03LP1-EU
Deye | SUN-5K-SG04LP3-BE
Deye | SUN-6K-SG04LP3-BE
Deye | SUN-10K-SG04LP3-BE
Deye | SUN-8K-SG04LP3-BE
Deye | SUN-12K-SG04LP3-BE
Deye | SUN-5K-SG04LP3-EU
Deye | SUN-5K-SG04LP3-EU(Connected in Delta 3X230V)
Deye | SUN-6K-SG04LP3-EU
Deye | SUN-6K-SG04LP3-EU(Connected in Delta 3X230 V)
Deye | SUN-8K-SG04LP3-EU
Deye | SUN-8K-SG04LP3-EU(Connected in Delta 3X230 V)
Deye | SUN-10K-SG04LP3-EU
Deye | SUN-10K-SG04LP3-EU(Connected in Delta 3X230 V)
Deye | SUN-12K-SG04LP3-EU(Connected in Delta 3X230 V)
Deye | SUN-12K-SG04LP3-EU
Deye | SUN-5K-SG03LP1-BE
Deye | SUN-3.6K-SG03LP1-BE
Deye | SUN-40K-SG01HP3-EU-BM4
Deye | SUN-50K-SG01HP3-EU-BM4
Deye | SUN-35K-SG01HP3-EU-BM3
Deye | SUN-29.9K-SG01HP3-EU-BM3
Deye | SUN-30K-SG01HP3-EU-BM3
Deye | SUN-5K-SG01HP3-EU-AM2
Deye | SUN-8K-SG01HP3-EU-AM2
Deye | SUN-6K-SG01HP3-EU-AM2
Deye | SUN-12K-SG01HP3-EU-AM2
Deye | SUN-10K-SG01HP3-EU-AM2
Deye | SUN-15K-SG01HP3-EU-AM2
Deye | SUN-25K-SG01HP3-EU-AM2
Deye | SUN-20K-SG01HP3-EU-AM2
Livoltek Power | Hyper-2000
Livoltek Power | Hyper-3000
Livoltek Power | Hyper-3680
Livoltek Power | Hyper-4600
Livoltek Power | Hyper-5000
Livoltek Power | Retro-2000
Livoltek Power | Retro-3000
Livoltek Power | Retro-3680
Livoltek Power | Retro-4600
Livoltek Power | Retro-5000
eCactus | WH-SPHA3.6H-5.12kWh
eCactus | WH-SPHA4.6H-5.12kWh
eCactus | WH-SPHA5.0H-5.12kWh
eCactus | WH-SPHA6.0H-5.12kWh
eCactus | WH-SPHA4.6H-10.24kWh
eCactus | WH-SPHA3.6H-10.24kWh
eCactus | WH-SPHA5.0H-10.24kWh
eCactus | WH-SPHA6.0H-10.24kWh
eCactus | WH-SHC362
eCactus | WH-SHC462
eCactus | WH-SHC502
eCactus | WH-SHC602
Apstorage | ELS-5K
Apstorage | ELS-3K
Viessmann | Vitocharge VX3 Type 6.0A
Viessmann | Vitocharge VX3 Type 8.0A
Autarco | S2.MH3600
Autarco | S2.MH4600
Autarco | S2.MH3000
Autarco | S2.MH5000
Autarco | S2.MH6000
Autarco | S2.LH5000
Autarco | S2.LH6000
Autarco | S2.LH8000
Autarco | S2.LH10000
Autarco | S2.LH5000-MII
Autarco | S2.LH6000-MII
Autarco | S2.LH8000-MII
Autarco | S2.LH10000-MII
KACO new energy | BLUEPLANET GS 50.0 TL3-S B1 WM OD IIGM
KACO new energy | BLUEPLANET GS 50.0 TL3-S B1 WM OD IIGL
KACO new energy | BLUEPLANET GS 50.0 TL3-S B1 WM OD IIGX
KACO new energy | BLUEPLANET GS 92.0 TL3-S B1 WM OD IIGM
KACO new energy | BLUEPLANET GS 92.0 TL3-S B1 WM OD IIGL
KACO new energy | BLUEPLANET GS 92.0 TL3-S B1 WM OD IIGX
KACO new energy | BLUEPLANET GS 137 TL3-S B1 WM OD IIPL
KACO new energy | BLUEPLANET GS 137 TL3-S B1 WM OD IIPX
KACO new energy | BLUEPLANET GS 137 TL3-S B1 WM OD IIPM
RENAC | N1-HV-3.0
RENAC | N1-HV-3.68
RENAC | N1-HV-5.0
RENAC | N1-HV-6.0
RENAC | N3-HV-5.0
RENAC | N3-HV-6.0
RENAC | N3-HV-8.0
RENAC | N3-HV-10.0-A
RENAC | N3-HV-10.0
Solplanet/Aiswei | ASW3000H-S2
Solplanet/Aiswei | ASW4000H-S2
Solplanet/Aiswei | ASW3680H-S2
Solplanet/Aiswei | ASW5000H-S2
Solplanet/Aiswei | ASW6000H-S2
Solplanet/Aiswei | ASW05KH-T2
Solplanet/Aiswei | ASW06KH-T2
Solplanet/Aiswei | ASW08KH-T2
Solplanet/Aiswei | ASW10KH-T2
Solplanet/Aiswei | ASW05KH-T2-O
Solplanet/Aiswei | ASW12KH-T2
Solplanet/Aiswei | ASW06KH-T2-O
Solplanet/Aiswei | ASW10KH-T2-O
Solplanet/Aiswei | ASW08KH-T2-O
Solplanet/Aiswei | ASW12KH-T2-O
Solplanet/Aiswei | ASW08KH-T3
Solplanet/Aiswei | ASW12KH-T3
Solplanet/Aiswei | ASW08KH-T3-O
Solplanet/Aiswei | ASW10KH-T3-O
Solplanet/Aiswei | ASW12KH-T3-O
Solplanet/Aiswei | ASW10KH-T3
REGITEC | RHS-3KTL-S
REGITEC | RHS-3KTL
REGITEC | RHS-3.6KTL-S
REGITEC | RHS-3.6KTL
REGITEC | RHS-4.2KTL
REGITEC | RHS-5KTL
REGITEC | RHS-4.6KTL
REGITEC | RHT-4KTL
REGITEC | RHT-5KTL
REGITEC | RHT-6KTL
REGITEC | RHT-8KTL
REGITEC | RHT-10KTL
REGITEC | RHT-12KTL
TRUMPF | TruConvert AC3025
DEYE | SUN-3K-SG04LP1-BE
DEYE | SUN-3K-SG04LP1-24-BE
DEYE | SUN-3.6K-SG04PL1-BE
DEYE | SUN-5K-SG04LP1-BE
DEYE | SUN-6K-SG04LP1-BE
Solinteg | MHT-4K-25
Solinteg | MHT-5K-25
Solinteg | MHT-6K-25
Solinteg | MHT-8K-25
Solinteg | MHT-10K-25
Solinteg | MHT-12K-25
Solinteg | MHT-10K-40
Solinteg | MHT-12K-40
Solinteg | MHT-15K-40
Solinteg | MHT-20K-40
Solinteg | MHS-3K-30
Solinteg | MHS-3.6K-30
Solinteg | MHS-6K-30
Solinteg | MHS-5K-30
Solinteg | MHS-4.2K-30
Solinteg | MHS-8K-30
Solinteg | MHT-25K-100
Solinteg | MHT-30K-100
Solinteg | MHT-36K-100
Solinteg | MHT-40K-100-P
Solinteg | MHT-50K-100-P
Solinteg | MHT-50K-100
Solinteg | MHT-40K-100
Eorta | AVALAN CORE
Solarwatt | Battery flex AC-1 1.3 (5 kW)
Solarwatt | Battery flex AC-1 1.3 (6 kW)
Solarwatt | Inverter vision one 1.0 (3.0 kW)
Solarwatt | Inverter vision one 1.0 (4.6 kW)
Solarwatt | Inverter vision one 1.0 (3.7 kW)
Solarwatt | Inverter vision one 1.0 (5.0 kW, NL)
Solarwatt | Inverter vision one 1.0 (6.0 kW)
Solarwatt | Inverter vision three 1.0 (6.0 kW)
Solarwatt | Inverter vision three 1.0 (8.0 kW)
Solarwatt | Inverter vision three 1.0 (10.0 kW)
Solarwatt | Inverter vision three 1.0 (9.9 kW)
Solarwatt | Inverter vision one 1.0 (6.0 kW, FR)
Solarwatt | Inverter vision one 1.0 (5.0 kW)
Solarwatt | Inverter vision three 1.0 (5.0 kW)
Solarwatt | Inverter vision three 1.0 (15.0 kW)
Solarwatt | Inverter vision three 1.0 (12.0 kW)
M-TEC | Energy Butler 4kW-3P-3G25
M-TEC | Energy Butler 5kW-3P-3G25
M-TEC | Energy Butler 6kW-3P-3G25
M-TEC | Energy Butler 8kW-3P-3G25
M-TEC | Energy Butler 10kW-3P-3G25
M-TEC | Energy Butler 12kW-3P-3G25
M-TEC | Energy Butler 10kW-3P-3G40
M-TEC | Energy Butler 12kW-3P-3G40
M-TEC | Energy Butler 15kW-3P-3G40
M-TEC | Energy Butler 20kW-3P-3G40
Alpha ESS | SMILE-G3-B5-INV
Alpha ESS | SMILE-G3-S3.6-INV
Alpha ESS | SMILE-G3-S5-INV
Aunilec Solar | AUNISOL3600
Aunilec Solar | AUNISOL5000
Golen | LEG-60K-TL
Golen | LEG-50K-TL
Golen | LEG-60K-TT-B
Golen | LEG-50K-TT-B
Golen | LEG-100K-TT-B
Golen | LEG-30K-TL
Golen | LEG-30KVA-TL
Jinko Solar | JKS-3.6HLVS-GI
Jinko Solar | JKS-5HLVS-GI
Jinko Solar | JKS-4HLVS-GI
Jinko Solar | JKS-3HLVS-GI
Jinko Solar | JKS-6HLVS-GI
Jinko Solar | JKS-5HLVS-CI
Huawei | 10KTL-BEM1
Huawei | 200KTL-H0
Huawei | 100KTL-M1
Huawei | LUNA2000-200KTL-H1
Huawei | SUN2000-15K-MB0
Huawei | SUN2000-17K-MB0
Huawei | SUN2000-20K-MB0
Huawei | SUN2000-25K-MB0
Huawei | SUN2000-12K-MB0
Hoymiles | HYS-3.0LV-EUG1
Hoymiles | HYS-3.6LV-EUG1
Hoymiles | HYS-4.6LV-EUG1
Hoymiles | HYS-5.0LV-EUG1
Hoymiles | HYS-6.0LV-EUG1
Hoymiles | HYT-5.0HV-EUG1
Hoymiles | HYT-6.0HV-EUG1
Hoymiles | HYT-8.0HV-EUG1
Hoymiles | HYT-10.0HV-EUG1
Hoymiles | HYT-12.0HV-EUG1
Hoymiles | HAS-3.0LV-EUG1
Hoymiles | HAS-3.6LV-EUG1
Hoymiles | HAS-4.6LV-EUG1
Hoymiles | HAT-5.0HV-EUG1
Hoymiles | HAS-5.0LV-EUG1
Hoymiles | HAT-6.0HV-EUG1
Hoymiles | HAT-10.0HV-EUG1
Hoymiles | HAT-8.0HV-EUG1
SCU | GRES-225-150
SCU | EPCS 100
SCU | EPCS 150
SCU | GRES-150-100
SCU | EPCS 50
SCU | EPCS 250
SCU | GRES-75-50
SCU | EPCS 300
SCU | GRES-300-200
SCU | EPCS 200
SCU | EPCS 400
SCU | EPCS 500
SCU | EPCS 600
Boltainer | BOLT-75-50
Boltainer | BOLT-150-100
Boltainer | BOLT-225-150
Boltainer | Inverter-50
Boltainer | BOLT-300-200
Boltainer | Inverter-100
Boltainer | Inverter-150
Boltainer | Inverter-200
Boltainer | Inverter-250
Boltainer | Inverter-300
Boltainer | Inverter-400
Boltainer | Inverter-500
Boltainer | Inverter-600
Maschinenfabrik Reinhausen GmbH | GRIDCON® PCS 400 3W-400V/1x87kVA-PQ4
Maschinenfabrik Reinhausen GmbH | GRIDCON® PCS 400 3W-400V/2x87kVA-PQ4
Maschinenfabrik Reinhausen GmbH | GRIDCON® PCS 400 3W-400V/3x87kVA-PQ4
Maschinenfabrik Reinhausen GmbH | GRIDCON® PCS 400 3W-400V/4x87kVA-PQ4
Maschinenfabrik Reinhausen GmbH | GRIDCON® PCS 120 4W-400V/2x42kVA-PQ4
Maschinenfabrik Reinhausen GmbH | GRIDCON® PCS 120 4W-400V/3x42kVA-PQ4
Maschinenfabrik Reinhausen GmbH | GRIDCON® PCS 120 4W-400V/1x42kVA-PQ4
NEOVOLT | BW-INV-SPH5K
NEOVOLT | BW-INV-SPH3.6K
NEOVOLT | BW-INV-SPB5K
NEOVOLT | BW-INV-TPH4K
NEOVOLT | BW-INV-TPH5K
NEOVOLT | BW-INV-TPH6K
NEOVOLT | BW-INV-TPH8K
NEOVOLT | BW-INV-TPH10K
GE | GEH3.0-1LU-20
GE | GEH3.6M-1LU-20
GE | GEH5.0-1LU-20
GE | GEH3.6-1LU-20
GE | GEH5.0M-1LU-20
GE | GEH6.0M-1LU-20
GE | GEH6.0-1LU-20
GE | GEH15-3U-10
GE | GEH25-3U-10
GE | GEH29.9-3U-10
GE | GEH20-3U-10
Sigenergy | SigenStor EC 3.0 SP
Sigenergy | SigenStor EC 3.6 SP
Sigenergy | SigenStor EC 4.0 SP
Sigenergy | SigenStor EC 4.6 SP
Sigenergy | SigenStor AC 3.0 SP
Sigenergy | SigenStor AC 3.6 SP
Sigenergy | SigenStor AC 4.6 SP
Sigenergy | SigenStor AC 4.0 SP
Sigenergy | Sigen Hybrid 3.0 SP
Sigenergy | Sigen Hybrid 3.6 SP
Sigenergy | Sigen Hybrid 4.0 SP
Sigenergy | Sigen Hybrid 4.6 SP
Sigenergy | Sigen Hybrid 5.0 TP
Sigenergy | Sigen Hybrid 6.0 TP
Sigenergy | Sigen Hybrid 8.0 TP
Sigenergy | Sigen Hybrid 10.0 TP
Sigenergy | Sigen Hybrid 10.0 TP BE
Sigenergy | Sigen Hybrid 12.0 TP
Sigenergy | Sigen Hybrid 15.0 TP
Sigenergy | Sigen Hybrid 17.0 TP
Sigenergy | Sigen Hybrid 20.0 TP
Sigenergy | Sigen Hybrid 25.0 TP
Sigenergy | SigenStor EC 5.0 TP
Sigenergy | SigenStor EC 6.0 TP
Sigenergy | SigenStor EC 10.0 TP
Sigenergy | SigenStor EC 8.0 TP
Sigenergy | SigenStor EC 15.0 TP
Sigenergy | SigenStor EC 12.0 TP
Sigenergy | SigenStor EC 10.0 TP BE
Sigenergy | SigenStor EC 20.0 TP
Sigenergy | SigenStor EC 17.0 TP
Sigenergy | SigenStor EC 25.0 TP
Sigenergy | SigenStor AC 5.0 TP
Sigenergy | SigenStor AC 6.0 TP
Sigenergy | SigenStor AC 8.0 TP
Sigenergy | SigenStor AC 10.0 TP
Sigenergy | SigenStor AC 10.0 TP BE
Sigenergy | SigenStor AC 12.0 TP
Sigenergy | SigenStor AC 15.0 TP
Sigenergy | SigenStor AC 17.0 TP
Sigenergy | SigenStor AC 20.0 TP
Sigenergy | SigenStor AC 25.0 TP
KEHUA TECH | BCS50K-A
KEHUA TECH | BCS100K-A
KEHUA TECH | BCS250K-A
KEHUA TECH | BCS500K-A
KEHUA TECH | iStoragE3 5K
KEHUA TECH | iStoragE3 6K
KEHUA TECH | iStoragE3 10K
KEHUA TECH | iStoragE3 8K
KEHUA TECH | iStoragE3 12K
SUNPOWER | RESERVE-INV-1-P5- L1-INT
GivEnergy | GIV-HY-5.0-G3
GivEnergy | GIV-HY-3.6-G3
CHiNT | CPS SCE4.6KTL-120/EU
CHiNT | CPS SCE5KTL-120/EU
CHiNT | CPS SCE6KTL-120/EU
BLUETTI | EP760
BLUETTI | EP600
ENJOY | EPCS30-AM
ENJOY | EPCS50-AM
ENJOY | EPCS63-AM
ENJOY | EPCS105-AM-F
ENJOY | EPCS105-AM
ENJOY | EPCS80-AM
EF ECOFLOW | EF HD-P3-10K-S1
EF ECOFLOW | EF HD-P3-6K0-S1
EF ECOFLOW | EF HD-P3-8K0-S1
JUST SOLAR | JN3-HV-5.0
JUST SOLAR | JN3-HV-8.0
JUST SOLAR | JN3-HV-10.0-A
JUST SOLAR | JN3-HV-10.0
JUST SOLAR | JN3-HV-6.0
NGEN | STAR-H3-12.0-E
Huafon ESS | HF01LP1-3.6K-EU
Huafon ESS | HF01LP1-5K-EU
Slenergy | SL-D4KTR-H25
Slenergy | SL-D5KTR-H25
Slenergy | SL-D6KTR-H25
Slenergy | SL-D10KTR-H25
Slenergy | SL-D15KTR-H40
Slenergy | SL-D10KTR-H40
Slenergy | SL-D12KTR-H40
Slenergy | SL-D20KTR-H40
Slenergy | SL-D8KTR-H25
Slenergy | SL-D12KTR-H25
SONNENKRAFT | SK-HWR-6
SONNENKRAFT | SK-HWR-12
SONNENKRAFT | SK-HWR-10
SONNENKRAFT | SK-HWR-8
Aiko | AE-HBD-8KTL-S1
Aiko | AE-HBD-10KTL-S1
Aiko | AE-HBD-12KTL-S1
Cubenergy | EH-0200-HA-M
Sineng Electric | SN3.0HS
Sineng Electric | SN3.68HS
Sineng Electric | SN4.0HS
Sineng Electric | SN5.0HS
Sineng Electric | SN6.0HS
SAX Power | Primo-1-6-5-230 (fixed connection mode)
Eaton | XStorage Compact 40 kW
Eaton | XStorage Compact 30 kW
Eaton | XStorage Compact 20 kW
Celerity | CelerityGen 8-M3
Celerity | CelerityGen 12-M3
Celerity | CelerityGen 10-M3
Schneider Electric | EMG-PCS-0062-ACC-IEC-00
Schneider Electric | EMG-PCS-0250-ACC-IEC-00
Schneider Electric | EMG-PCS-0125-ACC-IEC-00
Schneider Electric | EMG-PCS-0187-ACC-IEC-00
Schneider Electric | EMG-PCS-0437-ACC-IEC-00
Schneider Electric | EMG-PCS-0375-ACC-IEC-00
Schneider Electric | EMG-PCS-0312-ACC-IEC-00
Schneider Electric | EMG-PCS-0500-ACC-IEC-00
Afore | AF9.99K-TH
Afore | AF14.99K-TH
Afore | AF24.99K-TH
Afore | AF29.99K-TH
Afore | AF3K-THP
Afore | AF4K-THP
Afore | AF6K-THP
Afore | AF5K-THP
Afore | AF10K-THP
Afore | AF9.99K-THP
Afore | AF8K-THP
Afore | AF5K-THA
Afore | AF4.99K-THA
Afore | AF4K-THA
Afore | AF10K-THA
Afore | AF4K-THC
Afore | AF3K-THA
Afore | AF6K-TH-0
Afore | AF8K-TH-0
Afore | AF14.99K-THA
Afore | AF10K-TH-0
Afore | AF12K-THA
Afore | AF6K-THA
Afore | AF3K-THC
Afore | AF8K-THA
Afore | AF6K-THC
Afore | AF4.99K-THC
Afore | AF15K-THA
Afore | AF5K-TH-0
Afore | AF9.99K-THA
Afore | AF17K-THA
Afore | AF4K-TH-0
Afore | AF5K-THC
Afore | AF3K-TH-0
Afore | AF17K-TH-0
Afore | AF25K-TH-0
Afore | AF30K-TH-0
Afore | AF20K-TH-0
Afore | AF15K-TH-0
Afore | AF12K-THP-0
Afore | AF10K-THP-0
Afore | AF8K-THP-0
Afore | AF5K-THP-0
Afore | AF4K-THP-0
Afore | AF3K-THP-0
Afore | AF6K-THP-0
Afore | AF12K-THP
Afore | AF12K-TH-0
AUNILEC SOLAR | AUNISOL_8KT
AUNILEC SOLAR | AUNISOL_10KT
AUNILEC SOLAR | AUNISOL_12KT
GONEO | EUE2-PDT80
GONEO | EUE2-PDT100
GONEO | EUE2-PDT120
HYXi POWER | HYX-H3K-HS
HYXi POWER | HYX-H3K6-HS
HYXi POWER | HYX-H4K-HS
HYXi POWER | HYX-H4K6-HS
HYXi POWER | HYX-H5K-HS
HYXi POWER | HYX-H6K-HS
HYXi POWER | HYX-H8K-HS
Kehua Tech | ESI215-100K-M
TCL | TCL-RSL-3.68K
TCL | TCL-RSL-5K
TCL | TCL-RTL-8K
TCL | TCL-RTL-12K
Perceval | 28456
Perceval | 28791
Sunsynk | SYNK-6K-SG04LP3
Sunsynk | SYNK-8K-SG04LP3
Sunsynk | SYNK-12K-SG04LP3
Sunsynk | SYNK-10K-SG04LP3
Sunsynk | SYNK-3K-SG04LP1-24
Sunsynk | SYNK-3K-SG04LP1
Sunsynk | SYNK-5K-SG04LP3
Sunsynk | SYNK-5K-SG04LP1
Sunsynk | SYNK-6K-SG04LP1
Sunsynk | SYNK-3.6K-SG04LP1
Lenercom | LC-E2-625T
Lenercom | LC-E2-615T
Lenercom | LC-E2-620T
Lenercom | LC-E2-630T
Lenercom | LC-E2-825T
Lenercom | LC-E2-830T
Lenercom | LC-E2-615T-G
Lenercom | LC-E2-620T-G
Lenercom | LC-E2-815T
Lenercom | LC-E2-820T-G
Lenercom | LC-E2-835T
Lenercom | LC-E2-1015T
Lenercom | LC-E2-1020T
Lenercom | LC-E2-815T-G
Lenercom | LC-E2-810T-G
Lenercom | LC-E2-610T-G
Lenercom | LC-E2-1030T
Lenercom | LC-E2-820T
Lenercom | LC-E2-1025T
Lenercom | LC-E2-1045T
Lenercom | LC-E2-1035T
Lenercom | LC-E2-1040T
Lenercom | LC-E2-1010T-G
Lenercom | LC-E2-1020T-G
Lenercom | LC-E2-1015T-G
Lenercom | LC-E2-1230T
Lenercom | LC-E2-1225T
Lenercom | LC-E2-1235T
Lenercom | LC-E2-1240T
Lenercom | LC-E2-1210T-G
Lenercom | LC-E2-1245T
Lenercom | LC-E2-1215T-G
Lenercom | LC-E2-1220T-G
Lenercom | LC-E2-1535T
Lenercom | LC-E2-1540T
Lenercom | LC-E2-1545T
Lenercom | LC-E2-1510T-G
Lenercom | LC-E2-1515T-G
Lenercom | LC-E2-1520T-G
Elecod | Monet-50AC
Elecod | Monet-62.5AC
Elecod | Monet-100AC
Rahvolt | RV3680H-S2
Rahvolt | RV4000H-S2
Rahvolt | RV3000H-S2
Rahvolt | RV5000H-S2
Rahvolt | RV6000H-S2
EPC Power Corp | CAB1000/AC-2L.1 (50-100100)(@208V)
EPC Power Corp | CAB1000/AC-2L.1 (50-100100)(@400V)
EPC Power Corp | CAB1000/AC-2L.1 (50-100100)(@480V)
EPC Power Corp | CAB1000/AC-2L.1 (50-100100)(@350V)
EPC Power Corp | CAB1000/AC-2L.1 (50-100100)(@600V)
EPC Power Corp | CAB1000/AC-3L.2 (50-100181)(@480V)
EPC Power Corp | CAB1000/AC-3L.2 (50-100181)(@600V)
EPC Power Corp | CAB1000/AC-3L.2 (50-100181)(@660V)
EPC Power Corp | CAB1000/AC-3L.2 (50-100181)(@690V)
EPC Power Corp | CAB1000/AC-3L.2 (50-100181)(@630V)
Enphase Energy | IQ Battery-5P-1P-INT, Q-Relay-1P-INT or Q-Relay-3P-INT
MAXHUB | HN3KS-AH2
MAXHUB | HN3K6S-AH2
MAXHUB | HN4KS-AH2
MAXHUB | HN5KS-AH2
MAXHUB | HN6KS-AH2
Enphase | IQBATTERY-5P-1P-INT
SOLAX POWER | AELIO-P50B100
SOLAX POWER | TRENE-P100B215-I
SOLAX POWER | X3-TRENE- 124.9K
SOLAX POWER | X3-TRENE- 125K
SOLAX POWER | X3-TRENE- 79.9K
SOLAX POWER | X3-TRENE- 99.9K
SOLAX POWER | X3-TRENE- 100K
Weiheng | WH-BEC-100AC
MEGAREVO | R10KH3
MEGAREVO | R12KH3
MEGAREVO | R15KH3
MEGAREVO | R6KH3-P
MEGAREVO | R6KH3
MEGAREVO | R8KH3
MEGAREVO | R15KH3-P
MEGAREVO | R10KH3-P
MEGAREVO | R12KH3-P
MEGAREVO | R8KH3-P
MEGAREVO | R3KL1-G2S
MEGAREVO | R3KL1D-G2S
MEGAREVO | R3KL1A-G2S
MEGAREVO | R3K6L1-G2S
MEGAREVO | R3KL61A-G2S
MEGAREVO | R3KL1DA-G2S
MEGAREVO | R3KL61D-G2S
MEGAREVO | R4KL1D-G2S
MEGAREVO | R3KL61DA-G2S
MEGAREVO | R4KL1-G2S
MEGAREVO | R4KL1A-G2S
MEGAREVO | R4KL1DA-G2S
MEGAREVO | R4K6L1-G2S
MEGAREVO | R4KL61D-G2S
MEGAREVO | R4KL61DA-G2S
MEGAREVO | R5KL1-G2S
MEGAREVO | R5KL1A-G2S
MEGAREVO | R5KL1D-G2S
MEGAREVO | R6KL1-G2S
MEGAREVO | R5KL1DA-G2S
MEGAREVO | R6KL1D-G2S
MEGAREVO | R6KL1A-G2S
MEGAREVO | R6KL1DA-G2S
MEGAREVO | R4KL61A-G2S
Pixii | PowerShaper 6,7kW/65kWh
Pixii | PowerShaper 23,3kW/65kWh
Pixii | PowerShaper 26,7kW/65kWh
Pixii | PowerShaper 30kW/65kWh
Pixii | PowerShaper 33,3kW/65kWh
Pixii | PowerShaper 3,3kW/65kWh
Pixii | PowerShaper 40kW/65kWh
Pixii | PowerShaper 16,7kW/65kWh
Pixii | PowerShaper 13,3kW/65kWh
Pixii | PowerShaper 36,7kW/65kWh
Pixii | PowerShaper 46,7kW/65kWh
Pixii | PowerShaper 43,3kW/65kWh
Pixii | PowerShaper 50kW/65kWh
Pixii | PowerShaper 20kW/65kWh
Pixii | PowerShaper 53,3kW/65kWh
Pixii | PowerShaper 56,7kW/65kWh
Pixii | PowerShaper 60kW/65kWh
Pixii | PowerShaper 10kW/65kWh
Polarium | 810-00237
SIEMENS | Active Line Module
HITE | TypeA
SHINEYOUNG | PC100KTL-AG1, PC100KTL-AG, PC115KTL-AG1, PC115KTL-AG, PC125KTL-AG1
SHINEYOUNG | PC125KTL-AG1
SHINEYOUNG | PC115KTL-AG
SHINEYOUNG | PC100KTL-AG
SHINEYOUNG | PC100KTL-AG1
SHINEYOUNG | PC115KTL-AG1
AOHAI | AH-3KSL-G2
AOHAI | AH-3.6KSL-G2
AOHAI | AH-4KSL-G2
AOHAI | AH-4.6KSL-G2
AOHAI | AH-5KSL-G2
AOHAI | AH-6KSL-G2
AOHAI | AH-10KTH-G1
AOHAI | AH-8KTH-G1
SHENZHEN ACE BATTERY CO.,LTD. | RESS-3A-XXXX-H2-8K; XXXX: System Energy Capacity(KWh) (XXXX=7.6/11.4/15.2/19/22.7)
SHENZHEN ACE BATTERY CO.,LTD. | RESS-3A-XXXX-H2-12K; XXXX: System Energy Capacity(KWh) (XXXX=7.6/11.4/15.2/19/22.7)
SHENZHEN ACE BATTERY CO.,LTD. | RESS-3A-XXXX-H2-10K; XXXX: System Energy Capacity(KWh) (XXXX=7.6/11.4/15.2/19/22.7)
Innotinum | IPES-3A-XXXX-H2-8K; XXXX: System Energy Capacity(KWh) (XXXX=7.6/11.4/15.2/19/22.7)
Innotinum | IPES-3A-XXXX-H2-10K; XXXX: System Energy Capacity(KWh) (XXXX=7.6/11.4/15.2/19/22.7)
Innotinum | IPES-3A-XXXX-H2-12K; XXXX: System Energy Capacity(KWh) (XXXX=7.6/11.4/15.2/19/22.7)
EcoFlow | EF HD-P1-3K-S1
EcoFlow | EF HD-P1-4.6K-S1
EcoFlow | EF HD-P1-3.68K-S1
EcoFlow | EF HD-P1-6K-S1
EcoFlow | EF HD-P3- 29K9-S1
EcoFlow | EF HD-P3- 25K0-S1
EcoFlow | EF HD-P3- 20K0-S1
EcoFlow | EF HD-P3- 15K0-S1
EcoFlow | EF HD-P1-5K-S1
Emaldo | EM-INV-03
Emaldo | EM-INV-02
RCT Power | RHS-6K-H
GSSTES | MA1000K060
APstorage | EZAC-L
APstorage | EZAC
APstorage | EZAC-M
APstorage | EZHI-L
APstorage | EZHI-M
APstorage | EZHI
APstorage | ELT-8
APstorage | ELT-6
APstorage | ELT-10
APstorage | ELT-12
Anker | A17C1
Anker | A17C3
Anker | X1-P6K-B05-S
Anker | X1-P6K-B10-S
Anker | X1-P6K-B20-S
Anker | X1-P6K-B30-S
Anker | X1-P6K-B25-S
Anker | X1-P6K-B15-S